## Schedule 1
Schedule #1: Plant and Materials to be Supplied
Date: _______________________
Tender: ____________________________
Name of the Tenderer___________________________________________________
[5 empty] | Price per unit DDP at Site, with VAT (Euro) | The total cost: DDP at Site, with VAT (Euro)
No. | Description |  | Unit | Amount |  | (4 x 5)
1 | 2 |  | 3 | 4 | 5 | 6
MI Educational Complex No.9 of Lutsk City Council on Potapova str., 30, Lutsk city
building 1
1 | Materials for insulation and finishing of external walls (mineral wool plate, thick-ness 120 mm, density min. 135 kg/m3) |  | m2 | 2,303.3
2 | Materials insulation and finishing of the soclesocle till the ground level (mineral wool plate, thickness 120 mm, density min. 135 kg/m3) |  | m2 | 132.6
3 | Window blocks |  | m2 | 60.085
4 | Door blocks |  | m2 | 42.8
5 | Materials for finishing slopes |  | m2 | 637.9
- | a) without insulation |  | m2 | 0
- | b) with insulation |  | m2 | 637.9
6 | Materials for insulation of the tent roof (mineral wool plate, thickness 200 mm, density min. 180 kg/m3) |  | m2 | 1.844
7 | Installation of ventilation |  | m3/h | 700
Related works
8 | Restoration of blind areathe blind area (flagstone and kerbstone) |  | m2 | 167
9 | Decoration of windowsills (window boards) |  | m2 | 14.4
10 | Renovation of porches |  | m3 | 17
building 2
1 | Materials for insulation and finishing of external walls (mineral wool plate, thick-ness 120 mm, density min. 135 kg/m3) |  | m2 | 2,810.2
2 | Materials for insulation and finishing of the soclesocle till the ground level (mineral wool plate, thickness 120 mm, density min. 135 kg/m3) |  | m2 | 91.1
3 | Window blocks |  | m2 | 174.612
4 | Door blocks |  | m2 | 21.7
5 | Materials for finishing slopes |  | m2 | 559.8
- | a) without insulation |  | m2 | 0
- | b) with insulation |  | m2 | 559.8
6 | Materials for insulation of the hip roof (mineral wool board, thickness 200 mm, density min. 180 kg/m3) |  | m2 | 1.562
Related works
8 | Restoration of blind areathe blind area (flagstone and kerbstone) |  | m2 | 291.8
9 | Decoration of windowsills (window boards) |  | m2 | 38.8
10 | Renovation of porches |  | m3 | 5
MI School of I-II degrees No. 11-Collegium of Lutsk City Council on Nalyvaika str., 10B, Lutsk city
1 | Materials for insulation and finishing of external walls (mineral wool plate, thick-ness 120 mm, density min. 135 kg/m3) |  | m2 | 3,780.3
2 | Materials for insulation and finishing of the soclesocle till the ground level (mineral wool plate, thickness 120 mm, density min. 135 kg/m3) |  | m2 | 196.9
3 | Window blocks |  | m2 | 1,046.795
4 | Door blocks |  | m2 | 32.26
5 | Materials for finishing slopes |  | m2 | 942.8
- | a) without insulation |  | m2 | 0
- | b) with insulation |  | m2 | 942.8
6 | Materials for insulation and waterproofing with a PVC-membrane of a flat roof (mineral wool plate, thickness 200 mm, density min. 180 kg/m3) |  | m2 | 2.926
7 | Installation of ventilation |  | m3/h | 2.81
Related works
8 | Restoration of blind areathe blind area (stone-block blind area, kerbstones) |  | m2 | 525
9 | Decoration of windowsills (window boards) |  | m2 | 233
10 | Renovation of porches |  | m2 | 22
MI School of I-III degrees No.16 of Lutsk City Council on Korolova str., 7, Lutsk city
building 1
1 | Window blocks |  | m2 | 139.97
Related works
2 | Restoration of blind areathe blind area (flagstones) |  | m2 | 119
3 | Decoration of windowsills (window boards) |  | m2 | 31.1
4 | Covering the areaways with canopies |  | m2 | 18
5 | Renovation of porches |  | m3 | 6
building 2
1 | Materials for insulation and finishing of external walls (mineral wool plate, thick-ness 120 mm, density min. 135 kg/m3) |  | m2 | 2,918.3
2 | Materials for insulation and finishing of the soclesocle till the ground level (mineral wool plate, thickness 120 mm, density min. 135 kg/m3) |  | m2 | 308.1
3 | Window blocks |  | m2 | 451.02
4 | Door blocks |  | m2 | 34.409
5 | Materials for finishing slopes |  | m2 | 485
- | a) without insulation |  | m2 | 0
- | b) with insulation |  | m2 | 485
6 | Materials for insulation and waterproofing with a PVC-membrane of a flat roof (mineral wool plate, thickness 200 mm, density min. 180 kg/m3) |  | m2 | 2.072
7 | Installation of ventilation |  | m3/h | 2.08
Related works
8 | Restoration of blind areathe blind area (flagstones, kerbstones) |  | m2 | 340
9 | Decoration of windowsills (window boards) |  | m2 | 100.2
10 | Renovation of porches |  | m2 | 26
Total amount (to be carried to Summary Schedule)
Name
In the capacity of
Signed
Duly authorised to sign the tender for and on behalf of __________________________________
Dated on___________ day _____________________month___________ year.
Note:
Note: 1. In case of discrepancy between unit price and total, these will be adjusted in accordance with the Instruc-tions to Tenderers. 2. Prices and currencies to be in accordance with the Instructions to Tenderers. 3. All items identified in the Section IV – Employer’s Requirements – must be entered and priced in the appropriate Price Schedule. Items not priced will be deemed to have been included in price of the priced items. 4. Data of the Price Schedule should be entered into a spreadsheet of XLS type (included in tender docu-mentation as a separate file) and submitted in both hard and digital copies together with the tender

## Schedule 2
Schedule #2: Related Works and Other Costs
Date: _________________________________
Tender: ______________________________
Name of the Tenderer _____________________________________________________
No. |  |  | Description |  |  |  |  | Price per unit DDP at Site, with VAT (Euro) | The total cost DDP at Site, with VAT (Euro)
[6 empty] | Unit | Amount |  | (4 x 5)
1 |  |  | 2 |  |  | 3 | 4 | 5 | 6
MI Educational Complex No.9 of Lutsk City Council on Potapova str., 30, Lutsk city
1 |  |  | Development of design documentation |  |  | unit | 4+1 elec.version
2 |  |  | Complex state investment expertise according to the current legislation of Ukraine |  |  | unit | 1
3 |  |  | Designer’s Supervision, as the developer of the design documentation for this project |  |  | unit | 1
building 1
1 |  |  | Insulation of external walls |  |  | m2 | 2,303.3
2 |  |  | Insulation of the socle till the ground level |  |  | m2 | 132.6
3 |  |  | Dismantling of window blocks |  |  | m2 | 60.085
4 |  |  | Installation of window blocks |  |  | m2 | 60.085
5 |  |  | Dismantling of door blocks |  |  | m2 | 42.8
6 |  |  | Installation of door blocks |  |  | m2 | 42.8
7 |  |  | Insulation of enclosure constructions (window slopes with Insulation) |  |  | m2 | 637.9
8 |  |  | Insulation of the attic with mineral wool with installation of screed |  |  | m2 | 1.844
9 |  |  | Installation of the ventilation |  |  | m3 | 700
Related works
10 |  |  | Restoration of blind area |  |  | m2 | 167
11 |  |  | Decoration of windowsills |  |  | m2 | 14.4
12 |  |  | Renovation of porches |  |  | m3 | 17
13 |  |  | Dismantling of asphalt-concrete and crushed-rock sub-base |  |  | m2 | 167
14 |  |  | Installation of kerbstones |  |  | l.m. | 170
15 |  |  | Disposal and removal of dismantled materials, as well as construction waste in accordance with environmental requirements |  |  | Total
building 2
1 |  |  | Insulation of external walls |  |  | m2 | 2,810.2
2 |  |  | Insulation of the socle till the ground level |  |  | m2 | 91.1
3 |  |  | Dismantling of window blocks |  |  | m2 | 174.612
4 |  |  | Installation of window blocks |  |  | m2 | 174.612
5 |  |  | Dismantling of door blocks |  |  | m2 | 21.7
6 |  |  | Installation of door blocks |  |  | m2 | 21.7
7 |  |  | Insulation of enclosure constructions (window slopes with Insulation) |  |  | m2 | 559.8
8 |  |  | Insulation of the attic with mineral wool with installation of screed |  |  | m2 | 1.562
9 |  |  | Installation of ventilation |  |  | m3 | 2.09
Related works
10 |  |  | Restoration of blind area |  |  | m2 | 291.8
11 |  |  | Decoration of windowsills |  |  | m2 | 38.8
12 |  |  | Renovation of porches |  |  | m3 | 5
13 |  |  | Dismantling of asphalt-concrete and crushed-rock sub-base |  |  | m2 | 291.8
14 |  |  | Installation of kerbstones |  |  | l.m. | 300
15 |  |  | Disposal and removal of dismantled materials, as well as construction waste in accordance with environmental requirements |  |  | Total
MI School of I-II degrees No. 11-Collegium of Lutsk City Council on Nalyvaika str., 10B, Lutsk city
1 |  |  | Development of design documentation |  |  | unit | 4+1 elec.version
2 |  |  | Complex state investment expertise according to the current legislation of Ukraine |  |  | unit | 1
3 |  |  | Designer’s Supervision, as the developer of the design documentation for this project |  |  | unit | 1
4 |  |  | Insulation of external walls |  |  | m2 | 3,780.3
5 |  |  | Insulation of the socle till the ground level |  |  | m2 | 196.9
6 |  |  | Dismantling of window blocks |  |  | m2 | 1,046.795
7 |  |  | Installation of window blocks |  |  | m2 | 1,046.795
8 |  |  | Dismantling of door blocks |  |  | m2 | 32.26
9 |  |  | Installation of door blocks |  |  | m2 | 32.26
10 |  |  | Insulation of enclosure constructions (window slopes with Insulation) |  |  | m2 | 942.8
11 |  |  | Insulation of the attic with PVC-membrane |  |  | m2 | 2.926
12 |  |  | Installation of ventilation |  |  | m3 | 2.81
Related works
13 |  |  | Restoration of blind area |  |  | m2 | 525
14 |  |  | Decoration of windowsills |  |  | m2 | 233
15 |  |  | Renovation of porches |  |  | m3 | 22
16 |  |  | Dismantling of asphalt-concrete and crushed-rock sub-base |  |  | m2 | 525
17 |  |  | Installation of kerbstones |  |  | l.m. | 300
18 |  |  | Disposal and removal of dismantled materials as well as construction waste in accordance with environmental requirements |  |  | total
MI School of I-III degrees No.16 of Lutsk City Council on Korolova str., 7, Lutsk city
1 |  |  | Development of design documentation |  |  | unit | 4+1 elec.version
2 |  |  | Complex state investment expertise according to the current legislation of Ukraine |  |  | unit | 1
3 |  |  | Designer’s Supervision, as the developer of the design documentation for this project |  |  | unit | 1
building 1
1 |  |  | Dismantling of window blocks |  |  | m2 | 139.97
2 |  |  | Installation of window blocks |  |  | m2 | 139.97
Related works
3 |  |  | Restoration of blind area |  |  | m2 | 119
4 |  |  | Decoration of windowsills |  |  | m2 | 31.1
5 |  |  | Covering of areaways with canopies |  |  | m2 | 18
6 |  |  | Renovation of porches |  |  | m3 | 6
7 |  |  | Disposal and removal of dismantled materials as well as construction waste in accordance with environmental requirements |  |  | Total
building 2
1 |  |  | Insulation of external walls |  |  | m2 | 2,918.3
2 |  |  | Insulation of the socle till the ground level |  |  | m2 | 308.1
3 |  |  | Dismantling of window blocks |  |  | m2 | 451.02
4 |  |  | Installation of window blocks |  |  | m2 | 451.02
5 |  |  | Dismantling of door blocks |  |  | m2 | 34.409
6 |  |  | Installation of door blocks |  |  | m2 | 34.409
7 |  |  | Insulation of enclosure constructions (window slopes with Insulation) |  |  | m2 | 485
8 |  |  | Insulation of the attic with PVC-membrane |  |  | m2 | 2.072
9 |  |  | Installation of ventilation |  |  | m3 | 2.08
Related works
10 |  |  | Restoration of blind area |  |  | m2 | 340
11 |  |  | Decoration of windowsills |  |  | m2 | 100.2
12 |  |  | Renovation of porches |  |  | m2 | 26
13 |  |  | Dismantling of asphalt-concrete and crushed-rock sub-base |  |  | m2 | 340
14 |  |  | Installation of kerbstones |  |  | l.m. | 360
15 |  |  | Disposal and removal of dismantled materials as well as construction waste in accordance with environmental requirements |  |  | Total
… |  | .. | Additional expenses*, inclusive: Insurance according to Clause 16 GCC and PCC of the Contract Bank guarantees according to Clause 10.1 PCC and Clause 12 GCC of the Contract Other administrative and bank expenses
Total amount (to be carried to Summary Schedule)
* in case Tenderer is not specifying additional expenses, it is expected that these expenses are included in cost of Plant and Materials and Related Works.
Name
In the capacity of
Signed
Duly authorised to sign the tender for and on behalf of
This ____________ day _____________________ month ___________ year.
Note: 1. In case of discrepancy between unit price and total, these will be adjusted in accordance with the Instruc-tions to Tenderers. 2. Prices and currencies to be in accordance with the Instructions to Tenderers. 3. All items identified in the Section IV – Employer’s Requirements – must be entered and priced in the appropriate Price Schedule. Items not priced will be deemed to have been included in price of the priced items. 4. Data of the Price Schedule should be entered into a spreadsheet of XLS type (included in tender docu-mentation as a separate file) and submitted in both hard and digital copies together with the tender

## Total
Summary Price Schedule
Date: _________________________________
Tender: _______________________
Name of the Tenderer ___________________________________________________
1 | 2 | 3
No. | Description | Total price: DDP at Site, with VAT (EUR)
1 | Price Schedule #1: Plant and Materials to be Supplied
2 | Price Schedule #2: Related Works and Other Costs
Total summary (to be carried to Tender Form)
Name _______________________________
In the capacity of________________________________________________
Signed
Duly authorised to sign the tender for and on behalf of _________________________________________________________
This____________ day _____________________ month ___________ year.
Note: 1. In case of discrepancy between unit price and total, these will be adjusted in accordance with the Instruc-tions to Tenderers. 2. Prices and currencies to be in accordance with the Instructions to Tenderers. 3. All items identified in the Section IV – Employer’s Requirements – must be entered and priced in the appropriate Price Schedule. Items not priced will be deemed to have been included in price of the priced items. 4. Data of the Price Schedule should be entered into a spreadsheet of XLS type (included in tender docu-mentation as a separate file) and submitted in both hard and digital copies together with the tender